# Research Report: The Clinical and Computational Rationale for EEG in Alzheimer’s Disease Diagnostics

## 1. The Physiological Biomarker: "Brain Slowing"

Alzheimer’s Disease fundamentally disrupts the microscopic and macroscopic neural networks of the brain. At a physiological level, AD causes progressive synaptic loss, amyloid-beta plaque deposition, and neurofibrillary tau tangles.

These pathological changes directly alter the brain's electrical oscillations. On an EEG, this manifests as a phenomenon known as "brain slowing."

- Decrease in High-Frequency Power: Healthy, active brains show robust power in the Alpha (8–12 Hz) and Beta (12–30 Hz) bands, which are associated with active processing, memory retrieval, and alertness. In AD patients, power in these bands drops significantly.

- Increase in Low-Frequency Power: Conversely, AD brains exhibit an abnormal increase in diffuse Delta (0.5–4 Hz) and Theta (4–8 Hz) oscillations during resting states—frequencies usually reserved for deep sleep or infant development.

## 2. Loss of Functional Connectivity and Network Synchronization

The brain relies on tightly synchronized electrical timing across different anatomical regions to perform cognitive tasks. Alzheimer's acts as a "disconnection syndrome," physically and chemically severing these communication pathways.

EEG is uniquely capable of measuring this degradation in real-time through spectral coherence and phase-locking values.

- In early-stage AD, cross-channel EEG analysis reveals a severe drop in synchronization between the frontal and posterior regions of the brain.

- Because your Graph Attention Network (GAT) maps electrodes as nodes and dynamic correlations as edges, it is mathematically designed to catch this exact pathology: the fading "attention weights" (or communication strengths) between distant nodes.

## 3. Micro-states and Nonlinear Dynamics

Beyond static frequency bands, EEG captures transient, sub-second electrical topographies known as EEG micro-states. These micro-states represent the "atoms of thought"—momentary stabilities in the brain's global electrical field.

In Alzheimer's patients, the duration, syntax, and transition probabilities of these micro-states are heavily altered. Computational models can extract these non-linear temporal dynamics to detect cognitive decline long before structural brain atrophy becomes visible on an anatomical scan.

## 4. Clinical and Economic Advantages

While Magnetic Resonance Imaging (MRI) and Positron Emission Tomography (PET) are the current gold standards for visualizing structural changes and amyloid deposition, they have massive clinical bottlenecks:

| Diagnostic Modality | Cost | Accessibility | Sensitivity to Early Functional Changes |
| --- | --- | --- | --- |
| PET Scan | Extremely High | Limited (Requires nuclear medicine facilities) | High (Chemical/Metabolic) |
| Structural MRI | High | Moderate (Requires heavy imaging suites) | Low (Only catches late-stage physical shrinkage) |
| EEG | Low | High (Portable, bedside, or clinic-ready) | Extremely High (Catches synaptic failure before cell death) |

EEG provides a non-invasive, infinitely repeatable, and highly accessible screening tool. It can be deployed in rural areas or local clinics where multi-million dollar imaging infrastructure does not exist, serving as a frontline filter to catch early Mild Cognitive Impairment (MCI) before it progresses to irreversible Alzheimer's dementia.